## Test Plan
Test Plan
Test No | Test Requirement | Preconditions | Test Actions | Date Tested | Pass / Fail | Expected Outcome | Actual Outcome | Comments
1 | Gather thermocouple readings from sensors
2 | Gather flow-rate reading from the flow-rate sensors
3 | Power should be calculated from the sensor data
4 | On-site hardware should be able to be individually calibrated
5 | On-site hardware should be secure
6 | On-site hardware should transmit sensor readings/calculations securely
7 | Sensor readings should be stored securely
8 | A remote user should be able to view stored sensor readings for each transmitter
9 | The visualisation software should be secured against unauthorised access
10 | Thermocouples should be able to withstand temperatures of up to 100˚C.
11 | Thermocouples should have a differential accuracy of 0.05˚C.
12 | Hardware should cost no-more than £200 per test load